## Sheet1
Question number | Question | Company explanation
1 | Describe your company with the following information:
1a | Name
1b | Address
1c | Chamber of Commerce number (or similar for other countries)
1d | Contact person (incl. email address)
2 | What pre-clinical ultrasound equipment do you offer? Also describe any expansion with photoacoustics application and/or peripherals for use.
Part 1: Content
General specifications
Question number | Question | Company explanation
1 | Describe roughly the specifications of the intended ultrasound machine, in terms of transmission frequency band (-6 dB), reception frequency band (-6 dB), number of channels, bits/sample, maximum effective RF sampling rate, and how many different subsystems can be fully synchronously merged into a system
2 | What standard imaging techniques are included in the software? Can these imaging techniques be enabled via a user interface that is supplied by default?
3 | What frame rate can your system achieve with real-time B-mode image visualization, and colour Doppler visualization?
4 | Which standard probes, or other commercial probes (from another manufacturer), can be connected to the system?
5 | What upgrades do you offer from older models to the latest series of ultrasound equipment?
Programmability and quality
Question number | Question | Company explanation
1 | Describe your solutions for programming the machine
2 | Describe your solutions for remote control of the machine (the operator will not always be positioned next to the machine)
3 | What is the input noise per channel in terms of input equivalent RMS noise-voltage per √Hz?
4a | What is the maximum PRF in transmit-receive that can be achieved, at a sampling rate of 60 MSPS or higher, 4000 samples/trace, and 128 channels, where the data is stored in memory for offline processing?
4b | What is the maximum continuous recording time at which that maximum PRF is achieved?
5 | What is the maximum output voltage of the pulser for ultrasound pulses of 15 MHz, and 20 MHz
6 | What are the extreme -6 dB and -20 dB cut-off frequencies [MHz] in transmission, what are the extreme -6 dB and -20 dB cut-off frequencies [MHz] in reception?
7 | How are real-time and off-line RF data processing organized in the system?
8 | How is the data storage organized in the system and which formats are supported when writing directly to a file?
Challenges in the specific application with photoacoustics
Question number | Question
1 | What physical and software enhancement with photoacoustic modes on an ultrasound system do you offer?
2 | What optical wavelengths can the optical system provide?
3 | What is the maximum pulse repetition frequency of the system in photoacoustic mode?
4 | What is the minimum acoustic signal level that can be detected?
5 | How is the safety of the optical system guaranteed for the user, the laboratory animal, and the system itself?
Challenges in the specific application with ULM/Superresolution
Question number | Question
1 | What physical and software enhancement with contrast-enhanced Ultrasound Localization Microscopy (ULM)(also known as ‘super resolution imaging’) do you offer?
2 | For which contrast agents has the mode been tested?
3 | What is the maximum pulse repetition frequency of the system in ULM mode?
4 | What is the minimum imaging depth in ULM mode for abdominal and brain tissue imaging?
5 | What is the (proven) resolution of the technique in abdominal and brain imaging?
Challenges in the specific application with focused ultrasound
Question number | Question
1 | What physical and software extensions for focused ultrasound, for this current market survey defined as pulses of > 500 cycles and a Mechanical Index in focus of > 1.0, do you offer?
2 | For which echo probes has this modality been tested?
3 | What is the maximum pulse repetition frequency of this long pulse?
4 | Do you provide a standard software module for the control of these long pulses in combination with subsequential ‘tissue’ tracking and/or contrast tracking?
5 | What is the (proven) resolution of the technique in abdominal and brain imaging?
Challenges in the specific application in combination with MRI scanners
Question number | Question | Company explanation
1 | What form of triggering is possible with the system
2 | How is signal quality maintained if the machine is within 1 meter of the magnet of a pre-clinical 7T / 9.2T MRI system?
3a | How is it ensured that the electromagnetic radiation from the machine itself does not interfere with the MRI?
3b | How is it guaranteed that no electrically interfering signals (i.e., with frequencies outside of the acoustic working frequency band) are transmitted via connector, connector pins, and all other connections/wiring?
4 | Are there any materials and techniques used in the machine that could interfere with the MRI field if the machine is 1 meter from the magnet?
5 | Are there aspects of the ultrasound machine that can affect animal welfare, and how are these aspects minimized?
Part 2: Based on the goal and problem statement in the invitation, describe your solution for pre-clinical small animal experiments, based on the cases below
Use case 1 - mouse brain
Describe the ultrasound imaging of a mouse brain at > 1000 images per second.
Use case 2 - rat brain
Describe the photoacoustic depiction of a rat's brain
Use case 3 - liver tumor perfusion
Describe the super-resolved imaging of vascular structure in a rat liver tumor after administration of ultrasound contrast medium
Use case 4 – post-processing
Describe the post-processing of recorded raw RF data to gray-value B-mode, color Doppler clips, and photoacoustic images.
Use case 5 - multi-channel matrix transducers
Describe your solution for driving a 1024-channel matrix transducer and processing the signals into volumetric images
Part 3: General Questions
Supply chain control
Question number | Question | Company explanation
1 | What success factors does your company bring to ensure continuity of service?
1a | To what extent should these factors be included in the scope of the assignment and/or in the weighting model (Best Price/Quality Ratio)?
2 | What steps does your organization take to ensure the continuity of business operations, and supply chain, in the long term?
3 | Are there clear bottleneck components / parts of the equipment that can cause delivery to be delayed?
4 | Can you indicate the delivery time of the solution?
Cost control
Question number | Question | Company explanation
1 | Can you give a price indication for the solution you offer?
1a | Can you give a (global) indication of the cost items that make up this price and what the relationship is between the various cost items?
1b | What software packages and options do you offer? And can you give a price indication for these options?
1c | How do you expect costs to develop in the medium and long term?
2 | Can you give a price indication for the service and support you offer?
2a | Can you give a (global) indication of which cost items this price is made up of and what the relationship is between the various cost items?
2b | How do you expect these costs to develop in the medium and long term?
2c | Can you give an indication of the costs for application training of the various users and training of the technicians?
3 | Would you be willing to participate with your system in a European Tendering Procedure?
4 | What steps is your organization taking to actively achieve cost control for this product?
5 | Can you give an indication of the total cost of ownership?
NB | The consortium is not asking for quotations here, but only an indication of the prices. The consortium wants to get an impression of the order of magnitude of the Total Cost of Ownership and what components it consists of.
Service and support
Question number | Question | Company explanation
1 | Describe the service organization
2 | Describe the support you can provide for users and technicians
2a | Do you have a service organization in the Netherlands with its own technicians for maintenance and repair?
2b | Has this organization carried out maintenance in the Netherlands in the past 12 months?
2c | What response time can you offer in the coming year?
2d | What response time do you expect to be able to offer in 5 years?
2e | What are the delivery times on (spare) parts that you can guarantee?
3 | Describe the training you offer for junior researchers, senior researchers, lab technicians, and technicians
4 | How do you view making any upgrades and updates available during the life of the solution?
5 | Can you offer All-in maintenance? If so, can you give an indication of the price?
6 | You can offer All-in maintenance indexation-free during the entire period of 10 years of maintenance
7 | What is the average maintenance-free period of the equipment, and what is the average lifespan of the equipment under normal use
Research, innovation, and cooperation
Question number | Question | Company explanation
1 | What developments do you expect to see in the next five years for this solution/product group?
2 | What is the long-term vision for your product?
3 | Do you have new propositions under development where a consortium such as the AMICE consortium can have a role as a "launching customer" as a major customer? If this is the solution described: What are the benefits for the consortium as a launching customer?
4 | How common are research collaborations / development collaborations for these products?
4a | In what way is your company used to recording these kinds of collaborations?
5 | How does your solution offer opportunities to position us as university medical centres in the Netherlands nationally and internationally in the field of leading treatments and research?
Laws and regulations
Question number |  | Company explanation
1 | Does your solution comply with Dutch and European regulations for technical/laboratory equipment at the time of intended pre-clinical commissioning (Q4 2026-Q1 2027)?
2 | Although the intended use is pre-clinical, does the system comply with the IEC60601-1 (Medical electrical equipment) at the time of the intended commissioning (Q4 2026-Q1 2027)?
3 | Does the system comply with the Dutch standard for information security (i.e. NEN-ISO/IEC 27001) at the time of the intended commissioning (Q4 2026-Q1 2027)?
Sustainability
Question number | Question | Company explanation
1 | How are your solutions created? Where and how are the products made, which products are used, etc. Provide a brief description of the supply chain.
2 | As a company, how do you deal with the environmental impact in your supply chain (sourcing, production, transport, and packaging)? You can think of: impact on water and land use, biodiversity, and toxicity (ozone, acidification, etc.).
3 | Does your company measure this impact? If so, can you share them (Life Cycle Analyses, certificates, etc.)?
4 | How do you deal with the socio-economic conditions and relationships in the entire supply chain of which you are a part?
5 | Are you working with a company-wide Code of Conduct? If so, please share them.
5a | Are you familiar with ISO 26000 and the GRI standard? If so, do you have an ISO 26000 self-declaration or is it planned? Can you share the CRS/sustainability annual report?
6 | Will new solutions become available that directly contribute to the consortium's sustainability ambitions?
7 | Are there specific requirements or wishes that the consortium should define in order to achieve or stimulate impact?
Part 4: Other
Question number | Question | Company explanation
1 | Would you like to take advantage of the opportunity to explain your product in a (1-hour) presentation to the project group?
2 | Did you miss any questions in this consultation that you would have liked to answer?
3 | Do you have any further comments?
4 | Is it possible to demonstrate the operation of your system before or during a possible tender phase?