# Appendix A - Data sheet

This data sheet must be completed by the manufacturer and handed over to the client as part of the offer. All data supplied are guaranteed values.

| Rated voltages and frequency |  |  |
| --- | --- | --- |
| Voltage ratio primary / secondary side |  |  |
| Voltage regulation range |  |  |
| Maximum system voltage (Um) – HV SIDE |  |  |
| Maximum system voltage (Um) – HV-N |  |  |
| Maximum system voltage (Um) – LV SIDE |  |  |
| Rated lightning impulse insulation level - HV SIDE |  |  |
| Rated lightning impulse insulation level – HV-N |  |  |
| Rated lightning impulse insulation level - LV SIDE |  |  |
| BIL Chopped wave level - HV SIDE |  |  |
| BIL Chopped wave level - LV SIDE |  |  |
| Rated power frequency withstand voltage HV SIDE |  |  |
| Rated power frequency withstand voltage LV SIDE |  |  |
| Rated frequency (fr) |  |  |
| Voltage ratio primary / secondary side |  |  |
| Rated apparent power |  |  |
| Rated apparent power at ONAN cooling |  |  |
| Rated apparent power at ONAF cooling |  |  |
| Ramp-up/Ramp-down during operation - YES |  |  |
| The partial discharge level |  |  |
| Winding and temperature |  |  |
| Winding configuration |  |  |
| Hot spot windings temp rise |  |  |
| Average windings temp rise |  |  |
| Top oil temp rise |  |  |
| The partial discharge level |  |  |
| Sound pressure at 1m distance |  |  |
| Short circuit losses and impedance for positive and zero sequence at 160MVA |  |  |
| Transfer ratio kV / kV |  |  |
| Short-circuit impedance (Uk) in % at 75 ° C (HV-LV) |  |  |
| Short-circuit impedance (Uk) tolerance at 75 ° C (HV-LV) |  |  |
| Load losses Pk @ 75°C |  |  |
| Load losses Pk @ 75°C tolerance |  |  |
| Winding losses I2R at 75°C (kW) |  |  |
| Stray losses at 75°C (kW) |  |  |
| Core losses 75°C (kW) |  |  |
| No-load losses and current at assigned frequency and Ur |  |  |
| Voltage in % of the rated voltage 90 /100 / 110 |  |  |
| No-load losses Po in [kW] at assigned frequency and Ur |  |  |
| No-load current Po in % of the assigned flow at the highest allocated power for positive and zero sequence |  |  |
| No-load losses Po tolerance |  |  |
| Io in % of In |  |  |
| Higher harmonic components in the no-load current in % of the allocated current at the highest rated power 3rd harmonic …… 5th harmonic …… 7th harmonic …… 9th harmonic …… |  |  |
| Losses of cooling equipment |  |  |
| ONAN cooling |  |  |
| ONAF cooling |  |  |
| X/R |  |  |
| Positive sequence X/R |  |  |
| Zero sequence X/R |  |  |
| Feed-through insulators |  |  |
| Line connection terminal: HV MV LV - Brand …… …… …… - type …… …… …… - rated current …… A …… A …… A - capacitance …… pF …… pF …… pF |  |  |
| Isolation levels A. Low frequency voltage …… kV …… kV …… kV B. Lightning voltage …… kV …… kV …… kV C. Switching voltage …… kV …… kV …… kV |  |  |
| Star point clamp: - Brand …… …… …… - type …… …… …… - rated current …… A …… A …… A - capacitance …… pF …… pF …… pF - isolation levels - Low frequency voltage …… kV …… kV …… kV - Lightning voltage …… kV …… kV …… kV - Switching voltage …… kV …… kV …… kV |  |  |
| Current transformers |  |  |
| Line connection terminal: - phase …… …… …… - Brand …… …… …… - type …… …… …… - ratio …… …… …… - load …… VA …… VA …… VA - class …… …… …… - application …… …… …… |  |  |
| Star point clamp: - phase …… …… …… - Brand …… …… …… - type …… …… …… - ratio …… …… …… - load …… VA …… VA …… VA - class …… …… …… - application …… …… …… |  |  |
| Tap changer |  |  |
| - Brand …… - type …… - assigned current …… A - number of positions …… - type of scheme …… |  |  |
| Cooling - provide if applicable Number (= n), Brand, Type, Power (kW/pc or MW) |  |  |
| Oli Radiators Oil pumps Assigned power for (n-1) radiators Calculated hot-spot temperature * Applied hot-spot factor | *Specify conditions for the calculation |  |
| Dehydrating breather - provide if applicable Brand, Type, Weight (kg) |  |  |
| Main conservator OLTC conservator |  |  |
| Constructive details – provide core/shell type |  |  |
| Position of the windings core - …… - …… - …… Type of winding …… …… …… Core |  |  |
| Flux density in yoke …… T Flux density in core legs …… T |  |  |
| Maximum withstand AC voltage |  |  |
| in LS winding in case of an earth fault in the heart of the second windings …… kV |  |  |
| Maximum withstand lightning voltage |  |  |
| in LS winding due to a single or 3-phase impulse on one of the other windings …… kV |  |  |
| Inrush current |  |  |
| In kA for PRIMARY/SECONDARY side |  |  |
| Zero sequence impedance (Ohms per phase) |  |  |
| Primary side: Secondary side open …… Ω …… Ω …… Ω Secondary side shorted …… Ω …… Ω …… Ω |  |  |
| Secondary side: Primary side open …… Ω …… Ω …… Ω Primary side shorted …… Ω …… Ω …… Ω |  |  |
| Capacities (3 phase) |  |  |
| 3-winding transformers, including feed-through insulators: core and – LV …… pF LV – MV …… pF MV – HV …… pF HV tank and core …… pF MV tank and core …… pF |  |  |
| 2-winding transformers, including feed-through insulators: core and tank – LV …… pF LV – HV …… pF LV screen (if applicable) …… pF screen – HV (if applicable) …… pF HV tank and core …… pF |  |  |
| Weights |  |  |
| Total weight, including oil, conservator and radiators (if mounted on the transformers) …… t Weight of the radiators (if mounted separately) …… t Transport weight including oil …… t Transport weight excluding oil …… t Oil weight …… t Active part weight …… t |  |  |
| Dimensions |  |  |
| Height up to top of conservator…….mm Height up to top of cover…….mm Height up to top of HV bushings…….mm Length overall…….mm Length with radiators…….mm Width overall…….mm |  |  |
| Dimensions for transport |  |  |
| Length…….mm Width…….mm Height…….mm |  |  |
| Surface treatment |  |  |
| Specification of proposed surface treatment |  |  |