## Explenation questionnaire
Explanation questionnaire
The questions are divided in the following categories:
Tab 1 'Generic questions' Questions about the experience of the supplier
Tab 2. 'Meeting the requirements' The purpose of these questions is to verify if you can deliver the exact kW output (as requested in our MOD assignment) for each system. For these systems we are interested in the specifications of your systems and possible cost driving requirements.
Tab 3. 'Range of kWs' The purpose of these questions is to gain insight into which MOTS systems you can deliver within the specified range of kW's, in order to make it possible for the MOD to select the optimal price/quality MOTS product.
Tab 4. 'Maintenance concept' The purpose of these questions is to gain insight into: a. the way in which you can execute maintenance using the MOD concepts of OLM, ILM and DLM, and the materials and annual costs of the maintenance based on the user profiles of the systems b. the ideas of the supplier on maintenance concepts which are already in place at the supplier and how these concepts apply to the MOD situation
Tab 5. 'Maintenance activities' The purpose of these questions is to gaint insight into the inspections and maintenance activities for the offered systems.
Please answer the questions such that the answers are complete but concise. You are requested to give the answers in the yellow highlighted cells. The Netherlands Armed Forces and the Defence Materiel Organisation would like to thank you in advance for the effort you will make by participating in this market consultation.

## 1. Generic
1. Generic questions
Nr. | Reference | Question
1.1 |  | What is the name of your company?
1.2 |  | If your company belongs to a larger holding; what is the name of the holding?
1.3 |  | What is/are the addresses of your company?
1.4 |  | Which persons (functions) are responsible for answering this market consultation?
1.5 |  | Who is the point of contact for this market consultation? Please provide telephone number(s) and e-mail address(es).
1.6 |  | Please describe relevant partnerships with other companies
1.7 |  | Please give a summary of the most significant (military) orders over the last 3 years.
1.8 |  | To what extent does your company have an implemented quality assurance system based on ISO 9001:2008.? If your quality assurance system is not based on ISO9001: 2008, you are kindly requested to indicate what standards your quality assurance system is based on.
1.9 |  | Is your quality system certified? If so, what is the expire date of the certificate?
1.10 |  | Are you familiar with the content of NATO standard AQAP 2110?
1.11 |  | In defense agreements there is a possibility to enable a Government Quality Assurance Representative (G-QAR). This representative performs, in your organization, verification activities (project related) concerning your quality assurance activities. To what extent do you have experience with working with a G-QAR?
1.12 |  | Is it, within your organization, common practice to set up quality plans, inspection plans and/or test plans for the realization of an agreement or you do so only on customer request?

## 2. Meeting the kW requirements
2a. Questions about the systems excactly meeting the kW requirement
Nr. | Reference to Word file | Question
2.1 | Section 3.3 | For which types of mobile energy supply systems could you offer a system that exactly meets the Program of Requirements in terms of kW's? Answer by yes or no. | [12 empty] | Possible remarks of the supplier
[6 empty] | 4,5 kW | 6 kW | 6 ~ 20 kW | 20 kW | 50 kW | 100 kW | 200 kW
2.2 | Section 3.3 | This question relates to the systems for which you could make an offer that exactly meets the Program of Requirements in terms of kW's. Could you provide the properties of this system? | [12 empty] | Possible remarks of the supplier
[6 empty] | 4,5 kW | 6 kW | 6 ~ 20 kW | 20 kW | 50 kW | 100 kW | 200 kW
Dimension: length, width, height (mm)
Total weight including fuell and liquids (kg)
Fuel consumption (operating hours/L)
Hours full load with one fuel tank
Temperature range
Noise level at max load/speed at 7 meter
Delivertytime (weeks after contract)
Expected ELOT of the systems in operating hours
2.3 | Section 3.3 | This question relates to the systems for which you could make an offer that exactly meets the Program of Requirements in terms of kW's. Could you give an indication of the investment costs of these systems (in euro's, excluding VAT, price level 2015)? Delivery DAP in the Netherlands. | [12 empty] | Possible remarks of the supplier
[6 empty] | CONCEPT 1 - Maintenance excluded |  |  | CONCEPT 2 - DLM only |  |  | CONCEPT 3 - ILM & DLM
4,5 kW
[6 empty] | Quantity | Price |  | Quantity | Price |  | Quantity | Price |  | Possible remarks of the supplier
|  |  |  | Procurement |  | 318 |  | 0 | 318 |  | 0 | 318 |  | 0
|  |  |  | Documentation |  | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  |  |  | Training - user & maintenance for 10 persons |  | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  |  |  | Special Tools and Test Equipment |  | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  |  |  | Spare parts (initial ILM set for the first year) |  | 318 |  | 0 | 318 |  | 0 | 318 |  | 0
|  |  |  | Total |  |  |  | 0 |  |  | 0 |  |  | 0
6 kW
[6 empty] | Quantity | Price |  | Quantity | Price |  | Quantity | Price |  | Possible remarks of the supplier
|  |  |  | Procurement |  | 48 |  | 0 | 48 |  | 0 | 48 |  | 0
|  |  |  | Documentation |  | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  |  |  | Training - user & maintenance for 10 persons |  | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  |  |  | Special Tools and Test Equipment |  | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  |  |  | Spare parts (initial ILM set for the first year) |  | 48 |  | 0 | 48 |  | 0 | 48 |  | 0
|  |  |  | Total |  |  |  | 0 |  |  | 0 |  |  | 0
6~20 kW
[6 empty] | Quantity | Price |  | Quantity | Price |  | Quantity | Price |  | Possible remarks of the supplier
|  |  |  | Procurement |  | 520 |  | 0 | 520 |  | 0 | 520 |  | 0
|  |  |  | Documentation |  | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  |  |  | Training - user & maintenance for 10 persons |  | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  |  |  | Special Tools and Test Equipment |  | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  |  |  | Spare parts (initial ILM set for the first year) |  | 520 |  | 0 | 520 |  | 0 | 520 |  | 0
|  |  |  | Total |  |  |  | 0 |  |  | 0 |  |  | 0
20 kW
[6 empty] | Quantity | Price |  | Quantity | Price |  | Quantity | Price |  | Possible remarks of the supplier
|  |  |  | Procurement |  | 520 |  | 0 | 520 |  | 0 | 520 |  | 0
|  |  |  | Documentation |  | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  |  |  | Training - user & maintenance for 10 persons |  | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  |  |  | Special Tools and Test Equipment |  | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  |  |  | Spare parts (initial ILM set for the first year) |  | 520 |  | 0 | 520 |  | 0 | 520 |  | 0
|  |  |  | Total |  |  |  | 0 |  |  | 0 |  |  | 0
50 kW
[6 empty] | Quantity | Price |  | Quantity | Price |  | Quantity | Price |  | Possible remarks of the supplier
|  |  |  | Procurement |  | 24 |  | 0 | 24 |  | 0 | 24 |  | 0
|  |  |  | Documentation |  | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  |  |  | Training - user & maintenance for 10 persons |  | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  |  |  | Special Tools and Test Equipment |  | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  |  |  | Spare parts (initial ILM set for the first year) |  | 24 |  | 0 | 24 |  | 0 | 24 |  | 0
|  |  |  | Total |  |  |  | 0 |  |  | 0 |  |  | 0
100 kW
[6 empty] | Quantity | Price |  | Quantity | Price |  | Quantity | Price |  | Possible remarks of the supplier
|  |  |  | Procurement |  | 18 |  | 0 | 18 |  | 0 | 18 |  | 0
|  |  |  | Documentation |  | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  |  |  | Training - user & maintenance for 10 persons |  | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  |  |  | Special Tools and Test Equipment |  | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  |  |  | Spare parts (initial ILM set for the first year) |  | 18 |  | 0 | 18 |  | 0 | 18 |  | 0
|  |  |  | Total |  |  |  | 0 |  |  | 0 |  |  | 0
200 kW
[6 empty] | Quantity | Price |  | Quantity | Price |  | Quantity | Price |  | Possible remarks of the supplier
|  |  |  | Procurement |  | 20 |  | 0 | 20 |  | 0 | 20 |  | 0
|  |  |  | Documentation |  | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  |  |  | Training - user & maintenance for 10 persons |  | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  |  |  | Special Tools and Test Equipment |  | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  |  |  | Spare parts (initial ILM set for the first year) |  | 20 |  | 0 | 20 |  | 0 | 20 |  | 0
|  |  |  | Total |  |  |  | 0 |  |  | 0 |  |  | 0
2.4 | Section 3.3 | Could you indicate whether there are requirements (see Word document for Program of Requirements) that should be reconsidered because they are a costdriver, a barrier or a contradiction? Is there an alternative for the relavant requirement? | [12 empty] | Possible remarks of the supplier
|  |  | System | Requirement | Remark
2b. Questions about the systems proposed by the supplier Please answer the following questions for the systems proposed as an answer to question 2.2. | [14 empty] | Possible remarks of the supplier
2.5 |  | On which side are the connectors placed, is it possible to change this? What are the cost implications?
2.6 |  | Could you describe where the inlet and discharge connections and the operating panel will be placed? Is it possible to change this?
2.7 |  | Could you name the operating system of the systems (e.g. conmap, LINCON, Bleusea, etc)? What are the cost implications?
2.8 |  | With regard to the VSCF system, this system will be placed on a truck (100 kN) to provide energy for a container. This system will be subject to shaking (MiL-std 810G), heath development from the truck and possible exhausts from the truck.
a. Is this system suitable for this purpose?
b. The MOD didn't make the choice if to use a fixed speed system or a variable speed. What could you advise the MOD and why?
c. Could you indicate the fuel usage at 8, 12, 17kW output?
d. What is the minimal free space needed between the truckcabine, the container and the system, taking into account the heath development and exhaust interference?
e. What is your solution for daily maintenance of this system in terms of access to the system? What does your solution look like and what are the dimensions and weight?
f. In comparison to a system with a fixed power output, what are the differences for the special tools, spare parts, training and maintenance?
g. Is it possible to connect the fuel supply to the fuel tank of the truck? Do you expect possible issues?
h. If possible we like a fueltank for more than 24 hours? Is this possible and what does your solution look like?
i. Is it possible to place the exhaust on the top of the system? Could you answer this question for the VSCF system, but also for the 20kW sytem.
2.9 |  | Is it possible to connect the systems to alternative energy supplies? E.g. solar power, battery packs? Could you indicate the possible additional costs? Is it possible to modify the system at a later stage?
2.10 |  | With regard to the 6 kW system, this system will be used as underslung for a helicopter. Do you offer systems that are suitable for this purpose? Which modifications are needed and could you indicate the cost implications?
2.11 |  | With regard to the 200kW system, is it possible to fit this system on a trailer? Could you describe the trailer which could be used for this purpose? What would be the investment cost if you would be asked to deliver this trailer including the 200kW system?
2.12 |  | With regard to the 200kW system, is it possible to use a variable speed?
2.13 |  | With regard to the 200kW system, is it possible to fit five systems in a powerplant? Could you answer this question for a fixed speed system and variable system. If yes, what does your solution look like.
2.14 |  | With regard to the requirement for emissions, is it possible to modify the systems from class III to class II (for usage in countries with low quality fuel)? What are possible additional costs?
2.15 |  | With regard to the temperate range, are you able to deliver a system that functions in the temperature range of -40 C tot +60 C? If any, which modifications are needed and what are the related costs?
2.16 |  | Is it possible to connect the systems (6-20, 20, 50, 100, 200 kW systems)? If any, which modifications are needed and what are the related costs? What does your solution look like?
2.17 |  | Are you familiar with postponed guarantee? Is it possible to make use of a postponed guarantee agreement? What is your standard guarantee period, that you use for your systems?
2.18 |  | In case you deliver the systems, could you provide test results proving your systems meets our requirements?

## 3. Range of kWs
3a. Questions about the systems within ranges of kW's
Nr. | Reference to the Word file | Question
3.1 |  | This question relates to the MOTS systems that you can deliver within a range of kWs. Could you indicate what type of systems you could provide within these ranges? For this question, it is allowed to deviate from the Program of Requirements for all requirements (the closer to the requirements, the better).
[5 empty] | 3 - 4,5 kW | 5 - 7 kW | 4-6 ~18-25 kW | 18 - 22 kW | 40 - 60 kW | 90 - 110 kW | 180 - 220 kW
Exact kW ouput of your MOTS system
Dimension: length, width, height (mm)
Total weight including fuell and liquids (kg)
Fuel consumption (operating hours/L)
Hours full load with one fuel tank
Temperature range
Noice level at max load/speed at 7 meter
Delivertytime (weeks after contract)
Expected ELOT of the systems in hours
3.2 |  | This question relates to the MOTS systems that you can deliver. Could you give an indication of the investment costs of these systems (in euro's, excluding VAT, price level 2015)? | [11 empty] | Possible remarks of the supplier
[5 empty] | CONCEPT 1 - Maintenance excluded |  |  | CONCEPT 2 - DLM only |  |  | CONCEPT 3 - ILM & DLM
3 - 4,5 kW
[5 empty] | Quantity | Price |  | Quantity | Price |  | Quantity | Price |  | Possible remarks of the supplier
|  |  |  | Procurement | 318 |  | 0 | 318 |  | 0 | 318 |  | 0
|  |  |  | Documentation | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  |  |  | Training - user & maintenance for 10 persons | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  |  |  | Special Tools and Test Equipment | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  |  |  | Spare parts (initial ILM set for the first year) | 318 |  | 0 | 318 |  | 0 | 318 |  | 0
|  |  |  | Total |  |  | 0 |  |  | 0 |  |  | 0
5 - 7 kW
[5 empty] | Quantity | Price |  | Quantity | Price |  | Quantity | Price |  | Possible remarks of the supplier
|  |  |  | Procurement | 48 |  | 0 | 48 |  | 0 | 48 |  | 0
|  |  |  | Documentation | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  |  |  | Training - user & maintenance for 10 persons | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  |  |  | Special Tools and Test Equipment | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  |  |  | Spare parts (initial ILM set for the first year) | 48 |  | 0 | 48 |  | 0 | 48 |  | 0
|  |  |  | Total |  |  | 0 |  |  | 0 |  |  | 0
4-6 ~18-25 kW
[5 empty] | Quantity | Price |  | Quantity | Price |  | Quantity | Price |  | Possible remarks of the supplier
|  |  |  | Procurement | 520 |  | 0 | 520 |  | 0 | 520 |  | 0
|  |  |  | Documentation | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  |  |  | Training - user & maintenance for 10 persons | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  |  |  | Special Tools and Test Equipment | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  |  |  | Spare parts (initial ILM set for the first year) | 520 |  | 0 | 520 |  | 0 | 520 |  | 0
|  |  |  | Total |  |  | 0 |  |  | 0 |  |  | 0
18 - 22 kW
[5 empty] | Quantity | Price |  | Quantity | Price |  | Quantity | Price |  | Possible remarks of the supplier
|  |  |  | Procurement | 520 |  | 0 | 520 |  | 0 | 520 |  | 0
|  |  |  | Documentation | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  |  |  | Training - user & maintenance for 10 persons | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  |  |  | Special Tools and Test Equipment | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  |  |  | Spare parts (initial ILM set for the first year) | 520 |  | 0 | 520 |  | 0 | 520 |  | 0
|  |  |  | Total |  |  | 0 |  |  | 0 |  |  | 0
40 - 60 kW
[5 empty] | Quantity | Price |  | Quantity | Price |  | Quantity | Price |  | Possible remarks of the supplier
|  |  |  | Procurement | 24 |  | 0 | 24 |  | 0 | 24 |  | 0
|  |  |  | Documentation | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  |  |  | Training - user & maintenance for 10 persons | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  |  |  | Special Tools and Test Equipment | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  |  |  | Spare parts (initial ILM set for the first year) | 24 |  | 0 | 24 |  | 0 | 24 |  | 0
|  |  |  | Total |  |  | 0 |  |  | 0 |  |  | 0
90 - 110 kW
[5 empty] | Quantity | Price |  | Quantity | Price |  | Quantity | Price |  | Possible remarks of the supplier
|  |  |  | Procurement | 18 |  | 0 | 18 |  | 0 | 18 |  | 0
|  |  |  | Documentation | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  |  |  | Training - user & maintenance for 10 persons | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  |  |  | Special Tools and Test Equipment | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  |  |  | Spare parts (initial ILM set for the first year) | 18 |  | 0 | 18 |  | 0 | 18 |  | 0
|  |  |  | Total |  |  | 0 |  |  | 0 |  |  | 0
180 - 220 kW
[5 empty] | Quantity | Price |  | Quantity | Price |  | Quantity | Price |  | Possible remarks of the supplier
|  |  |  | Procurement | 20 |  | 0 | 20 |  | 0 | 20 |  | 0
|  |  |  | Documentation | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  |  |  | Training - user & maintenance for 10 persons | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  |  |  | Special Tools and Test Equipment | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  |  |  | Spare parts (initial ILM set for the first year) | 20 |  | 0 | 20 |  | 0 | 20 |  | 0
|  |  |  | Total |  |  | 0 |  |  | 0 |  |  | 0
3b. Questions about the systems proposed by the supplier Please answer the following questions for the systems proposed as an answer to question 3.1. | [13 empty] | Possible remarks of the supplier
3.3 |  | On which side are the connectors placed, is it possible to change this? What are the cost implications?
3.4 |  | Could you describe where the inlet and discharge connections and the operating panel will be placed? Is it possible to change this?
3.5 |  | Could you name the operating system of the systems (e.g. conmap, LINCON, Bleusea, etc)? What are the cost implications?
3.6 |  | With regard to the VSCF system, this system will be placed on a truck (100 kN) to provide energy for a container. This system will be subject to shaking (MiL-std 810G), heath development from the truck and possible exhausts from the truck.
a. Is this system suitable for this purpose?
b. The MOD didn't make the choice if to use a fixed speed system or a variable speed. What could you advise the MOD and why?
c. Could you indicate the fuel usage at 8, 12, 17kW output?
d. What is the minimal free space needed between the truckcabine, the container and the system, taking into account the heath development and exhaust interference?
e. What is your solution for daily maintenance of this system in terms of access to the system? What does your solution look like and what are the dimensions and weight?
f. In comparison to a system with a fixed power output, what are the differences for the special tools, spare parts, training and maintenance?
g. Is it possible to connect the fuel supply to the fuel tank of the truck? Do you expect possible issues?
h. If possible we like a fueltank for more than 24 hours? Is this possible and what does your solution look like?
i. Is it possible to place the exhaust on the top of the system? Could you answer this question for the VSCF system, but also for the 20kW sytem.
3.7 |  | Is it possible to connect the systems to alternative energy supplies? E.g. solar power, battery packs? Could you indicate the possible additional costs? Is it possible to modify the system at a later stage?
3.8 |  | With regard to the 6 kW system, this system will be used as underslung for a helicopter. Do you offer systems that are suitable for this purpose? Which modifications are needed and could you indicate the cost implications?
3.9 |  | With regard to the 200kW system, is it possible to fit this system on a trailer? Could you describe the trailer which could be used for this purpose? What would be the investment cost if you would be asked to deliver this trailer including the 200kW system?
3.10 |  | With regard to the 200kW system, is it possible to use a variable speed?
3.11 |  | With regard to the 200kW system, is it possible to fit five systems in a powerplant? Could you answer this question for a fixed speed system and variable system. If yes, what does your solution look like.
3.12 |  | With regard to the requirement for emissions, is it possible to modify the systems from class III to class II (for usage in countries with low quality fuel)? What are possible additional costs?
3.13 |  | With regard to the temperate range, are you able to deliver a system that functions in the temperature range of -40 C tot +60 C? If any, which modifications are needed and what are the related costs?
3.14 |  | Is it possible to connect the systems (6-20, 20, 50, 100, 200 kW systems)? If any, which modifications are needed and what are the related costs? What does your solution look like?
3.15 |  | Are you familiar with postponed guarantee? Is it possible to make use of a postponed guarantee agreement? What is your standard guarantee period, that you use for your systems?
3.16 |  | In case you deliver the systems, could you provide test results proving your systems meets our requirements?

## 4. Maintenance concept
4a. Questions about the maintenance concept
4.1 | Could you comment on the proposed maintenance concepts (OLM, ILM, DLM, split between MOD and supplier)?
4.2 | Could you comment on the feasibility of the contract term during LOT?
4.3 | In case of concept 3 (including maintenance ILM&DLM), would it be possible for mechanics of the MoD to execute maintenance at your workshops, because of knowledge development and preservation? Are there additional costs for this scenario?
4.4 | The MOD would very much like to use the expertise of the supplier with regard to maintenance concepts. Could you describe maintenance concepts you offer to your clients? How would this work in the MOD situation? Please eloborate on your concepts and the feasibility for the MOD.
4.5 | The MOD is investigating the possibilities for using a performance based contract for maintenance, which experiences do you have which performance based contracts? How would this work in the MOD situation? Please eloborate on your concepts and the feasibility for the MOD.
4.6 | How is your spare parts supply regulated? And are you able to deliver spare parts within the time frame of 48 hours within Europe/Worldwide?
4.7 | With regard to the supply of spare parts, are you able to deliver spare parts for a time span of 15 to 20 years?
4.8 | What's your position on performing maintenance in unsafe area? Are you able to execute maintenance in unsafe areas?
4b. Questions about the costs related to the maintenance
4.9 | Could you give an overview of the maintenance tasks at OLM, ILM and DLM level and of the required inspections? Please use the tab '5. Maintenance tasks'
See tab 5 for the format
4.10 | With regard to the maintenance, are your systems suitable for maintenance using standard spare parts and liquids?
4.11 | Could you give an indication of the interval for preventive maintenance at OLM, ILM and DLM level (in years or based on operation hours)? Please answer this question for the systems proposed in tab 2 (meeting the requirements). In case you couldn't propose a system that meets the requirements, please answer the question for the systems proposed in tab 3 (range of kWs).
|  |  |  | 4,5 kW or 3 - 4,5 kW | 6 kW or 5 - 7 kW | 6 ~ 20 kW or 4-6 ~18-25 kW | 20 kW or 18 - 22 kW | 50 kW or 40 - 60 kW | 100 kW or 90 - 110 kW | 200 kW or 180 - 220 kW
OLM
ILM
DLM
4.12 | Could you give an indication of the exploitation costs per year for the total number of systems (in euro's, excluding VAT, price level 2015)? For example, please give an indication of the yearly material costs for preventive maintenance at ILM level for 318 pieces of 4,5 kW systems. Please answer this question for the systems proposed in tab 2 (meeting the requirements). In case you couldn't propose a system that meets the requirements, please answer the question for the systems proposed in tab 3 (range of kWs). | [11 empty] | Possible remarks of the supplier
|  |  |  | CONCEPT 1 - Maintenance excluded |  |  | CONCEPT 2 - DLM only |  |  | CONCEPT 3 - ILM & DLM
|  |  |  | ILM & DLM: costs for fallback option |  |  | ILM: costs for fallback option
4,5 kW or 3 - 4,5 kW (318 pieces)
|  |  |  | Quantity | Price |  | Quantity | Price |  | Quantity | Price |  | Possible remarks of the supplier
|  | OLM Preventive | Hours |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Material | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  | OLM Corrective | Hours |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Material | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  | ILM Preventive | Hours |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Material | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  | ILM Corrective | Hours |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Material | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  | DLM Preventive | Hours |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Material | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  | DLM Corrective | Hours |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Material | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  | Configurationmanagement |  | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  | Spare parts (warehousing, spare parts and delivery) |  | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  | Inspections |  | 1 |  | 0 |  |  | 0 |  |  | 0
|  | Total |  |  |  | 0 |  |  | 0 |  |  | 0
6 kW or 5 - 7 kW (48 pieces)
|  |  |  | Quantity | Price |  | Quantity | Price |  | Quantity | Price |  | Possible remarks of the supplier
|  | OLM Preventive | Hours |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Material | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  | OLM Corrective | Hours |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Material | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  | ILM Preventive | Hours |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Material | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  | ILM Corrective | Hours |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Material | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  | DLM Preventive | Hours |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Material | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  | DLM Corrective | Hours |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Material | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  | Configurationmanagement |  | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  | Spare parts (warehousing, spare parts and delivery) |  | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  | Inspections |  |  |  | 0 |  |  | 0 |  |  | 0
|  | Total |  |  |  | 0 |  |  | 0 |  |  | 0
6 ~ 20 kW or 4-6 ~18-25 kW (520 pieces)
|  |  |  | Quantity | Price |  | Quantity | Price |  | Quantity | Price |  | Possible remarks of the supplier
|  | OLM Preventive | Hours |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Material | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  | OLM Corrective | Hours |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Material | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  | ILM Preventive | Hours |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Material | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  | ILM Corrective | Hours |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Material | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  | DLM Preventive | Hours |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Material | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  | DLM Corrective | Hours |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Material | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  | Configurationmanagement |  | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  | Spare parts (warehousing, spare parts and delivery) |  | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  | Inspections |  |  |  | 0 |  |  | 0 |  |  | 0
|  | Total |  |  |  | 0 |  |  | 0 |  |  | 0
20 kW or 18 - 22 kW (520 pieces)
|  |  |  | Quantity | Price |  | Quantity | Price |  | Quantity | Price |  | Possible remarks of the supplier
|  | OLM Preventive | Hours |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Material | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  | OLM Corrective | Hours |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Material | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  | ILM Preventive | Hours |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Material | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  | ILM Corrective | Hours |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Material | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  | DLM Preventive | Hours |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Material | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  | DLM Corrective | Hours |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Material | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  | Configurationmanagement |  | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  | Spare parts (warehousing, spare parts and delivery) |  | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  | Inspections |  |  |  | 0 |  |  | 0 |  |  | 0
|  | Total |  |  |  | 0 |  |  | 0 |  |  | 0
50 kW or 40 - 60 kW (24 pieces)
|  |  |  | Quantity | Price |  | Quantity | Price |  | Quantity | Price |  | Possible remarks of the supplier
|  | OLM Preventive | Hours |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Material | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  | OLM Corrective | Hours |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Material | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  | ILM Preventive | Hours |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Material | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  | ILM Corrective | Hours |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Material | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  | DLM Preventive | Hours |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Material | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  | DLM Corrective | Hours |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Material | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  | Configurationmanagement |  | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  | Spare parts (warehousing, spare parts and delivery) |  | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  | Inspections |  |  |  | 0 |  |  | 0 |  |  | 0
|  | Total |  |  |  | 0 |  |  | 0 |  |  | 0
100 kW or 90 - 110 kW (18 pieces)
|  |  |  | Quantity | Price |  | Quantity | Price |  | Quantity | Price |  | Possible remarks of the supplier
|  | OLM Preventive | Hours |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Material | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  | OLM Corrective | Hours |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Material | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  | ILM Preventive | Hours |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Material | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  | ILM Corrective | Hours |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Material | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  | DLM Preventive | Hours |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Material | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  | DLM Corrective | Hours |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Material | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  | Configurationmanagement |  | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  | Spare parts (warehousing, spare parts and delivery) |  | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  | Inspections |  |  |  | 0 |  |  | 0 |  |  | 0
|  | Total |  |  |  | 0 |  |  | 0 |  |  | 0
200 kW or 180 - 220 kW (20 pieces)
|  |  |  | Quantity | Price |  | Quantity | Price |  | Quantity | Price |  | Possible remarks of the supplier
|  | OLM Preventive | Hours |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Material | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  | OLM Corrective | Hours |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Material | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  | ILM Preventive | Hours |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Material | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  | ILM Corrective | Hours |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Material | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  | DLM Preventive | Hours |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Material | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  | DLM Corrective | Hours |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Material | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  | Configurationmanagement |  | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  | Spare parts (warehousing, spare parts and delivery) |  | 1 |  | 0 | 1 |  | 0 | 1 |  | 0
|  | Inspections |  |  |  | 0 |  |  | 0 |  |  | 0
|  | Total |  |  |  | 0 |  |  | 0 |  |  | 0

## 5. Maintenance activities
5. Maintenance activities
Nr. | Reference | Question
5.1 |  | Please indicate the required inspections and the systems to which these inspections apply (yes or no).
|  | Inspection |  |  | 4,5 kW | 6 kW | 6 ~ 20 kW | 20 kW | 50 kW | 100 kW | 200 kW | 3 - 4,5 kW | 5 - 7 kW | 4-6 ~18-25 kW | 18 - 22 kW | 40 - 60 kW | 90 - 110 kW | 180 - 220 kW
5.2 |  | Please mention the maintenance actvities and the systems to which these inspections apply (yes or no).
|  | Description | Preventive/corrective | OLM/ILM/DLM | 4,5 kW | 6 kW | 6 ~ 20 kW | 20 kW | 50 kW | 100 kW | 200 kW | 3 - 4,5 kW | 5 - 7 kW | 4-6 ~18-25 kW | 18 - 22 kW | 40 - 60 kW | 90 - 110 kW | 180 - 220 kW