## Questions
1 | Date: | [7 empty] | blue |  | Please fill in this field
2 | Company: | [7 empty] | purple |  | Only fill in where you feel the need to explain
| Turbine Gas Meters |  |  |  |  | Rotary Gas Meters |  |  |  |  | Explanation/Illustration where needed
3a | Can your company deliver turbine gas meters? |  |  |  | 3b | Can your company deliver rotary gas meters? | [5 empty] | yes
4a | If yes, from your own production facility? |  |  |  | 4b | If yes, from your own production facility? | [5 empty] | no
5a | If yes, in which diameters/design pressures can you deliver turbine gas meters? | 19 bar | 40 bar | 80 bar | 5b | If yes, in which diameters/design pressures can you deliver rotary gas meters? | 19 bar | 40 bar | 80 bar
5.1a | DN80 (3 inch) |  |  |  | 5.1b | DN80 (3 inch)
5.2a | DN100 (4 inch) |  |  |  | 5.2b | DN100 (4 inch)
5.3a | DN150 (6 inch) |  |  |  | 5.3b | DN150 (6 inch)
5.4a | DN200 (8 inch) |  |  |  | 5.4b | DN200 (8 inch)
5.5a | DN250 (10 inch) |  |  |  | 5.5b | DN250 (10 inch)
5.6a | DN300 (12 inch) |  |  |  | 5.6b | DN300 (12 inch)
5.7a | DN400 (16 inch) |  |  |  | 5.7b | DN400 (16 inch)
5.8a | DN500 (20 inch) |  |  |  | 5.8b | DN500 (20 inch)
5.9a | DN600 (24 inch) |  |  |  | 5.9b | DN600 (24 inch)
6a | What is the average overall yearly production in the years 2012-4 |  |  |  | 6b | What is the average overall yearly production in the years 2012-4
7a | What is the average overall production capacity? |  |  |  | 7b | What is the average overall production capacity?
8a | What is your yearly maximum production capacity for these diameters in the (theoretical) case your would be producing only these specific size/pressure class? | 19 bar | 40 bar | 80 bar | 8b | What is your yearly maximum production capacity for these diameters in the (theoretical) case your would be producing only these specific size/pressure class? | 19 bar | 40 bar | 80 bar
8.1a | DN80 (3 inch) |  |  |  | 8.1b | DN80 (3 inch)
8.2a | DN100 (4 inch) |  |  |  | 8.2b | DN100 (4 inch)
8.3a | DN150 (6 inch) |  |  |  | 8.3b | DN150 (6 inch)
8.4a | DN200 (8 inch) |  |  |  | 8.4b | DN200 (8 inch)
8.5a | DN250 (10 inch) |  |  |  | 8.5b | DN250 (10 inch)
8.6a | DN300 (12 inch) |  |  |  | 8.6b | DN300 (12 inch)
8.7a | DN400 (16 inch) |  |  |  | 8.7b | DN400 (16 inch)
8.8a | DN500 (20 inch) |  |  |  | 8.8b | DN500 (20 inch)
8.9a | DN600 (24 inch) |  |  |  | 8.9b | DN600 (24 inch)
9a | Which industry standards do your gas meters meet? |  |  |  | 9b | Which industry standards do your rotary meters meet?
10a | Are you able to equip your meters with a internal flow straightener? |  |  |  | 10b | Are there any inlet conditions (i.e. upstream piping) for your rotary meters? |  |  |  | 10c | If Yes, what are they?
11 | [5 empty] | With how many rotors are your rotary meters equipped?
12 | [5 empty] | Can your rotary meters be calibrated at high pressure without disturbing the reference meters?
13 | [5 empty] | What is the maximum pressure at which your rotary meters can be calibrated? |  |  |  | bar
14 | What is the minimum upstream straight pipe length with and without an internal flow conditioner?
15a | Which flowrates (m3/hr) do your meters support? |  |  |  | 15b | Which flowrates (m3/hr) do your meters support?
15.1a | DN80 (3 inch) |  |  |  | 15.1b | DN80 (3 inch)
15.2a | DN100 (4 inch) |  |  |  | 15.2b | DN100 (4 inch)
15.3a | DN150 (6 inch) |  |  |  | 15.3b | DN150 (6 inch)
15.4a | DN200 (8 inch) |  |  |  | 15.4b | DN200 (8 inch)
15.5a | DN250 (10 inch) |  |  |  | 15.5b | DN250 (10 inch)
15.6a | DN300 (12 inch) |  |  |  | 15.6b | DN300 (12 inch)
15.7a | DN400 (16 inch) |  |  |  | 15.7b | DN400 (16 inch)
15.8a | DN500 (20 inch) |  |  |  | 15.8b | DN500 (20 inch)
15.9a | DN600 (24 inch) |  |  |  | 15.9b | DN600 (24 inch)
General
16 | For how long have you been producing/trading these meters?
17 | What is the average lead time of your meters?
18 | Does this lead time vary per size? If yes, to which extend?
19 | Under which conditions can the lead time of meters be further reduced?
20 | What is the lead time of a total revision of a meter including recalibration?
21 | What could Gasunie do to further support a process of lead time reduction?
22 | What are the possibilities for training Gasunie staff for small repairs.
23 | Can you indicate the price of a 19 bar DN 200 (8 inch) turbine gas meter without coating (with demand of 50/year)?
24 | Under which conditions are you able to keep stock for Gasunie?
Certificates
25 | Which Certificates can you provide with your meter?
26 | Which ATEX-certification do your meters comply with?
27 | Can you guarantee the traceability of materials for pressure containing parts used in your meters?
28 | If yes, how?
Calibration
29 | How do you perform the calibration of your meters?
30 | Do you have reserved slots for calibrations of your meters? If no, how do you plan the calibration of your meters?
31 | How and under which conditions could the process of calibration be further improved?
Material
32 | In which materials can you supply your meters?
33 | How do you protect your meters from internal and external corrosion?
34 | Are your meters suitable for gasses other than natural gas (i.e. Hydrogen (10%), Nitrogen (100%) and biomethane)?
Features/Performance
35 | What is the range of adjustment steps?
36 | What are the possibilities for remote readout of the mechanical counter?
37 | Are these possibilties provided as part of the standard or do they have to be custom build?
38 | Is your meter equipped with a memory i.e. for a serial nummer, building year, calibration curve, impuls factor, etc.?
39 | What are the possibilities for lubrication of the gas meter?
40 | With how many Pm marks are your turbine meters equipped?
41 | How is the meter index protected against moist?
42 | What are the diagnostic possibilities (internal and external) of your meter?
43 | What is the measuring accuracy of your meter?
44 | What are in your opinion the conditions needed for a good measurement?
Maintenance, QA
45 | How do you organize (small) repairs and maintenance of your meters?
46 | What is the guaranteed repairability period of your meters?
47 | How do you assure the quality of your meters?
Vision
48 | What is your vision on the future development of metering in the next 10 years?
49 | Which question did you expect and was not asked here? What is the answer?
50 | Gasunie thanks you for taking the time to aswer these questions, it is greatly appreciated!