Appendix A	RFI Chromium nano fluidics system

Registration form

Fill in the form completely, add an organizational diagram and include this as a pdf to RFI.

Name of the company	:

Residence address	:

Postal code and city	:

Country			:

Postal address		:

Postal code and city	:

Country			:

Internet address		:

Contact name		:

Position of contact	:

Contact telephone number:

Contact email	 	:

Appendix B	RFI Chromium nano fluidics system

Pricing form

PRICE

| Part | Price (excl. VAT) |
| --- | --- |
| Chromium nano fluidics system |  |
| Training |  |
| Software + licenses |  |
| Transportation |  |
| Installation |  |
| Total price* |  |

*= In this total price are included, all specified parts/components, all costs such as transport, travel, accommodation and office costs, including in any case:

- Chromium nano fluidics system according to the requirements specifications in appendix C

- Warranty period of twelve (12) months, usage rights, software, training, documentation, installation and support for the implementation and acceptance.

Also give a specification of the components in a separate annex.

Maintenance 4 years

| Activity | Price per year (excl. VAT) |
| --- | --- |
| Maintenance contract according to the requirements specifications in appendix C |  |

Specify the various options for maintenance in a separate annex.

### Appendix C  Chromium nano fluidics system

### Requirements

Chromium nano fluidics system

| Nr: | Requirements | Confirm with “yes” | Explanation |
| --- | --- | --- | --- |
| 1 | The Chromium nano fluidics system must perform massive parallel partitioning resulting For partitioning the Chromium uses 4,000,000 Barcoded gel bead emulsions resulting in >1,000,000 partitions, each containing single or few HMW DNA molecules or single cells, dependent on application. Finally this will result in the production of high-complexity libraries existing of barcoded linked sequencing reads. |  |  |
|  | Requirements for Genome Sequencing |  |  |
| 2 | The Chromium Genome Solution must provide long range information on a genome-wide scale, including variant calling, phasing and extensive characterization of genomic structure. |  |  |
| 3 | 10X Genomics libraries must be suitable for analysis on an illumina HiSeq2500 system. |  |  |
| 4 | Low DNA input (1 ng of genomic DNA) is required to generate High quality libraries from HMW (including >100Kb) DNA molecules |  |  |
| 5 | Multi-megabase phase blocks containing greater than 10 Mb haplotype blocks with SNPs and structural variants. |  |  |
| 6 | Supernova assembler for multi-megabase diploid de novo assemblies, preserving phasing information for small variants, structural rearrangements and novel sequence without the need for a reference genome. |  |  |
| 7 | Long Ranger analysis pipeline and Loupe visualization tools including algorithms and software for phasing and structural variant analysis including insertions and deletions, CNVs, translocations and inversions. |  |  |
|  | Requirements for Single Cell Applications |  |  |
| 8 | The Chromium Singe Cell Solution must provide barcoded transcriptional information originating from single cells providing insight in gene expression heterogeneity of cell populations. |  |  |
| 9 | Profiling 1,000s to 10,000s of cells per experiment increases sensitivity and accuracy for the detection of rare cell types. |  |  |
| 10 | Complete practical solution for single-cell analysis from cell suspension through cDNA sequencing and analysis. |  |  |
| 11 | Ability to identify rare cell types in heterogeneous populations with a wide dynamic range. |  |  |
| 12 | Cell Ranger analysis pipeline and Loupe visualization tools including algorithms and software for single cell transcriptomics. |  |  |

Installation

| Nr: | Requirements | Confirm with “yes” | Explanation |
| --- | --- | --- | --- |
| 13 | The full system ready to use after installation. |  |  |

Warranty

| Nr: | Requirements | Confirm with “yes” | Explanation |
| --- | --- | --- | --- |
| 13 | Supplier guarantees the proper functioning and performance (hardware & software) in accordance with the specifications for a period of twelve (12) months from the date of final acceptance onwards. This implicates that during this period all maintenance is free of charge. |  |  |
| 14 | The warranty period shall begin from the moment the equipment is tested and accepted by Wageningen UR. |  |  |

Price

| Nr: | Requirements | Confirm with “yes” | Explanation |
| --- | --- | --- | --- |
| 15 | The price includes all costs, such as installation and implementation, guarantees, training and documentation, any additional costs for travelling, accommodation. |  |  |
| 16 | The price includes delivery in accordance with DDP (Delivered Duty Paid) as defined in ICC Incoterms 2000. |  |  |
| 17 | The price includes testing and turnkey delivery. |  |  |

Maintenance

| Nr: | Requirements | Confirm with “yes” | Explanation |
| --- | --- | --- | --- |
| 18 | The Maintenance Agreement will start after the warranty period has been expired. |  |  |
| 19 | Maintenance shall comprise at least the following: a) information provision b) preventive maintenance c) Upgrades (hardware and software); d) Updates (hardware and software e) Support (helpdesk). |  |  |
| 20 | When a request for support is made by Wageningen UR, Supplier guarantees a response time of 24 hours and will provide Wageningen UR with an adequate reply within another 24 hours. |  |  |

Delivery time

| Nr: | Requirements | Explanation |
| --- | --- | --- |
| 21 | Give in the Explanation the guaranteed delivery time for the equipment |  |
| 22 | Give in the Explanation the maximum time needed between the delivery off the equipment and the turnkey delivery |  |

### Appendix D  Genomics Chromium system

Questions

| Nr: | Question | Answer |
| --- | --- | --- |
| 1 | Would the supplier be interested in research cooperation for testing and evaluating equipment in specific application fields and would supplier support this process by an in kind contribution (e.g., advice)? |  |
| 2 | Could the instrument initially be leased for a specific period? If yes, what is the price? |  |
| 3 | If, after a specific leasing period, we want to purchase the Chromium nano fluidics system, can the leasing price be deducted from the purchase price? |  |
| 4 | Could the warranty be prolonged to a longer period under the same conditions as the initial warranty period? If yes, what is the price? |  |
| 5 | Could the supplier give a summary of the main advantages of the supplied system with competitors? |  |